## Chemicals Inventory Record
Precursor chemicals 易制毒 |  | Chemicals Inventory Records 化学品库存表 |  |  | Lab Name实验室名称：
explosive chemicals 易制爆
Highly Toxic Chemicals 剧毒化学品
General Chemicals一般化学品
Every semester, the records need to be confirmed with the chemicals warehouse (can be sent by mail or signed documents) 每半年需将记录与仓库进行核销（可通过邮件或签字文件进行核对）
*the data included pick up from central warehouse and self-purchase *数据包括从中央仓库领取的以及实验室自购的
No. 序号 | English name of Chemicals | Chinese Name 化学品(中文) | Chemical Type 化学品种类 | Size规格 | Cas.No. | Brand 品牌 | Storage cabinet in lab 实验室存放柜 | Inbound Date* 实验室入库日期* | Received Quantity * 实验室入库数量/瓶、罐*
1 | sodium borohydride | 硼氢化钠 | explosive chemicals 易制爆 | 500 g | 16940-66-2 | Merck | special-basement | 2020-08-10 | 10
2 | Chloroform | 氯仿 | Precursor chemicals 易制毒 | 500 g | 7439-95-4 | Merck | special-garbage | 2020-08-11 | 11
3 | Mercury chloride | 氯化汞 | Highly Toxic Chemicals 剧毒化学品 | 500 g | 7487-94-7 | Merck | special-garbage | 2020-08-12 | 2
4 | Hydrogen peroxide | 双氧水 | explosive chemicals 易制爆 | 500 ml | 7722-84-1 | Merck | special-garbage | 2020-08-13 | 13
5 | Potasium permanganate （0.02mol/L） | 高锰酸钾 | Precursor chemicals 易制毒 | 1L | 7722-64-7 | Merck | special-basement | 2020-08-14 | 14
6 | Potasium permanganate | 高锰酸钾 | Precursor chemicals 易制毒 | 500 g | 7722-64-7 | Merck | special-basement | 2020-08-15 | 15
7 | Silver nitrate | 硝酸银 | Precursor chemicals 易制毒 | 100 g | 7761-88-8 | Merck | special-garbage | 2020-08-16 | 16
8 | Hydrochloric acid | 盐酸 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
9 | Hydrochloric acid （1.0 mol/L） | 盐酸 | Precursor chemicals 易制毒 | 1L |  |  | special-basement | – | –
10 | Hydrochloric acid （0.1 mol/L） | 盐酸 | Precursor chemicals 易制毒 | 1L |  |  | special-basement | – | –
11 | Diethyl ether | 乙醚 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
12 | Diethyl ether, anhydrous | 无水乙醚 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
13 | Sulfuric acid | 硫酸 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
14 | Chloroform | 氯仿 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
15 | Chloroform-d | 氯仿-d | Precursor chemicals 易制毒 | 100g |  |  | special-basement | – | –
16 | Acetone | 丙酮 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
17 | Toluene (>99.3%) | 甲苯 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
18 | acetic anhydride | 乙酸酐 | Precursor chemicals 易制毒 | AR-0.5L |  |  | special-basement | – | –
19 | Nitric acid | 硝酸 | explosive chemicals 易制爆 | 2.5 L |  |  | special-garbage | – | –
20 | sodium dichromate | 重铬酸钠 | explosive chemicals 易制爆 | 100g |  |  | special-basement | – | –

## Strict Control Chemicals Using
Strict Control Chemicals Using Record 管制类化学品使用登记记录
NO. 编号 | Chemical Name 化学品 | Receiving Date 领用日期 | Size 规格 | Quantity 领用数量 | Receiver A 领用人 | supervisor for Using 使用监督人 | Inventory Caretaker 库存管理员 | supervisor for Inventory 库存监督员 | Chemical for Experiment (name) 所用实验名称 | Remark 备注

## storage requirement summary
No. | Key Items | 国内关于化学品暂存和使用要求 | Chemicals storage requirement summary from Chinese Regulations and Laws
1 | Check if the dynamic account is established for the use of chemicals in lab. 实验室内化学品建有动态使用台帐 | 建立本实验室危险化学品目录，每个化学品柜应具备储存化学品清单和最大暂存量说明； 实验室应有危险化学品安全技术说明书（MSDS），化学品安全周知卡，应急处置卡方便查阅； 定期清理过期药品； 实验台面化学品无累积现象； | Establish dangerous Chemicals List for every reagent cabinet, mark the actual storage list and maximum quantity for each chemical in cabinet. prepare MSDS or safety notification card, emergency response card for hazardous chemicals of the lab for reference. clean the expired drugs regularly. Avoid accumulation on bench.
2 | Check if reagent are stored in specific space scientifically and orderly 试剂药品有专用存放空间并科学有序存放 | 储藏室、储藏区、储存柜等应通风、隔热、避光、安全； 有机溶剂储存区应远离热源和火源； 易泄漏、易挥发的试剂保证充足的通风； 试剂柜中不能有电源插座或接线板； 化学品有序分类存放； 配备必要的二次泄漏防护、吸附或防溢流功能； 试剂不得叠放、配伍禁忌化学品不得混存、固体液体不混乱放置、装有试剂的试剂瓶不得开口放置； 实验台架无挡板不得存放化学试剂； | The store room, storage area and storage cabinet should be ventilated, thermal-insulated, sun-proof and safe; the storage area of organic solvents should stay away from the source of heat and ignition; set the good ventialation and grounding for the flammable reagents that can be leakage and volatilization; power outlet or adpater should not exist in reagent cabinet; chemicals should be orderly stored by category; protection functions against secondary leakage, absorption or overflow should be provided; do not stack the reagents mixed with incompatible chemicals. keep chemicals orderly and never keep reagent bottle opened; do not store chemical reagents on the reagent rack on the experiment bench unless it has a baffle.
3 | Check if total quantity of hazardous chemicals in labs conform to the requirements of specification 实验室内存放的危险化学品总量符合规定要求 | 原则上单个实验室化学品总量不应超过100L或100kg，其中易燃易爆性化学品的存放总量不应超过50L或50kg，且单一包装容器不应大于20L或20kg； 单个实验装置存在10L以上甲类物质储罐，或20L以上乙类物质储罐，或50L以上丙类物质储罐，需加装泄露报警器及通风联动装置。 可按50平米为标准，存放量以实验室面积比考察。 管制类化学品实验室最大储存量，如： • 易制毒50kg； • 易制爆20Kg; • 剧毒5Kg; | Principly, the total storage quantity of hazardous chemicals should not exceed 100L or 100kg, among which, the total quantity of inflammable & explosive chemicals should not exceed 50L or 50kg, and capacity of single packaged container should not exceed 20L or 25kg; leakage detector and alarm and ventilation linkage device must be installed if single experiment device has Class A material over 10L in container, or Class B material over 20L or Class C material over 50L in container or kettle. The storage quantity of hazardous chemicals can be checked by lab area on basis of the standard laboratory area of 50m2. for maximun storage quantity of strictly controlled chemicals in labs: percursor chemicals: less than 50 Kg; explosive chemicals: 20Kg; Highly toxic chemical:5Kg;
4 | Check if chemicals' labels are obvious, complete and clear 化学品标签应有显著完整清晰 | 化学品包装物上应有符合规定的化学品标签； 当化学品由原包装物转移或分装到其他包装物内时，转移或分装后的包装物应及时重新粘贴标识。 化学品标签脱落、模糊、腐蚀后应及时补上，如不能确认，则以废弃化学品处置； | standard labels should be pasted on packages of chemicals and be repasted if such chemicals are transferred or divided into other packages. The chemical labels should be timely supplemented if falling or becoming fuzzy and corroded; otherwise, it should be handled as wasted chemicals.
5 | Check if precursor chemicals and potential explosives are stored by their classifications, kept by assigned person and provided with receiving, use and handling records etc. 易制毒品、易制爆品分类存放、专人保管，做好领取、使用、处置记录 | 其中第一类易制毒品实行“五双”管理制度； 实行“双人保管、双人领取、双人使用、双把锁、双本帐（仓库领用登记，实验室使用登记）”的“五双”制度管理； 剧毒品配备专门的双锁保险柜并固定，实行双人双锁保管制度； 剧毒品操作人员应通过专业培训，并持证上岗； 对于具有高挥发性、低闪点的剧毒品应存放在具有防爆功能的冰箱内，并配备双锁； 配备监控与报警装置； 剧毒品使用时须有两人同时在场； | Highly toxic chemicals shall be separately stored in the special storage cabinet with two locks, and managed according to the system of “five duals”, double-person storage keeping, double-person reception from warehouse, double-person use record confirmation, double locks, and account (e-account and paper record) (warehouse reception registration and laboratory use registration). The highly toxic chemicals should be kept in a special double-lock safe and fixed, and followed school's strictly controlled chemicals management procedures. The operating personnel for highly toxic chemical should pass professional training and get the relevant certificate; For highly toxic drugs with high volatility and low flash point, they should be stored in an explosion-proof refrigerator and equipped with double locks; Equipped with monitoring and alarm devices; Two users must be present at the same time when using the highly toxic chemials;