## 定期安全自检表
GTIIT Regular Safety Checklist 广东以色列理工学院实验室定期安全自检表
Lab's Name and No. 实验室名称及编号
No. 序号 | Items检查项目 | key element for checking points 检查要点 | Inspeciton content 检查情况
1 | Experimental Safety 实验安全 | Whether introduce new or changed of hazard sources 是否新增或变更危险源 | Y是 □ | N否 □ | N/A不适用 □ | Remark 备注
|  | Whether there are any new risks and following up actions need to complete 是否新增安全隐患及整改 | Y是 □ | N否 □ | N/A不适用 □
2 | Experimental Area 实验场所 | Any changes to the layout, structure or utilities 布置、结构或公共设施是否有变更 | Y是 □ | N否 □ | N/A不适用 □
|  | Is the ventilation and exhaust system in order 通风排风设备是否正常 | Y是 □ | N否 □ | N/A不适用 □
|  | Access control is at good condition 门禁进监控系统是否正常 | Y是 □ | N否 □ | N/A不适用 □
|  | sanitary management measures are implemented 是否落实卫生管理措施 | Y是 □ | N否 □ | N/A不适用 □
|  | Are first aid items effective 急救物品是否有效 | Y是 □ | N否 □ | N/A不适用 □
3 | Firefighting 消防设施 | Is the fire-fighting facilities at good condition 消防设施是否正常 | Y是 □ | N否 □ | N/A不适用 □
|  | Is the evacuation route clear 疏散通道是否畅通 | Y是 □ | N否 □ | N/A不适用 □
|  | Availability of emergency response facilities 应急处置设施是否正常 | Y是 □ | N否 □ | N/A不适用 □
4 | Publich facility 基础水电 | Is the electricity and water supply in order? 用电、用水是否正常 | Y是 □ | N否 □ | N/A不适用 □
|  | PPE is equipped and managed according to safety requirements PPE配备及管理是否符合要求 | Y是 □ | N否 □ | N/A不适用 □
5 | Chemcial Safety 化学安全 | Compliance with chemical purchase requirements 化学品购买是否符合要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Storage and use of chemicals in accordance with safety requirements 化学品的存放及使用是否符合要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Is the chemical label complete and clear? 化学品标签是否完整清晰 | Y是 □ | N否 □ | N/A不适用 □
|  | Are there safety instructions, and emergency plans for high/middle risks experiments 危险实验是否有安全指导或操作规程及应急预案 | Y是 □ | N否 □ | N/A不适用 □
|  | Compliance of controlled chemicals with requirements ("five-double") 管制类化学品是否符合管控要求(符合“五双”) | Y是 □ | N否 □ | N/A不适用 □
|  | Compliance with requirements for the use of gases (including centeral, cylinders and generator) 气体（含公用管道、钢瓶及气体发生器）使用是否符合要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether gas cylinders have records of replacement and leak testing 气体钢瓶是否有更换及测漏记录 | Y是 □ | N否 □ | N/A不适用 □
|  | Are all types of gas detectors in working order? 各类气体探测装置是否正常 | Y是 □ | N否 □ | N/A不适用 □
|  | Is hazardous waste collected and stored separately as required 危险废弃物是否按规定分类收集和暂存 | Y是 □ | N否 □ | N/A不适用 □
6 | Bio-safety 生物安全 | The presence of overused strains and manipulation in lab 实验室是否存在超使用范围的菌种及操作 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether lab's strains are procured, used and stored according to bio-lab requirements 实验室菌种采购、使用和暂存是否符合生物实验室要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Did the lab staff complete the relevant trained? 实验人员是否经过专业培训 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether the experiment has a biosafety manual, instructions and emergency plan 实验是否有生物安全手册、操作规范及应急预案 | Y是 □ | N否 □ | N/A不适用 □
|  | whether involve animal testing 是否有动物实验 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether it involves biological experimental waste 是否有生物实验废物 | Y是 □ | N否 □ | N/A不适用 □
7 | Radiation Safety 辐射安全 | Whether it involves nuclear material 是否有核材料 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether experiments are conducted within the permitted range of radionuclide types and dosages and radiation types in accordance with the regulations 辐射工作人员是否经过专门培训，定期参加职业体检 | Y是 □ | N否 □ | N/A不适用 □
|  | Are radiation workers specially trained and regularly attend occupational medical examinations 是否按规定在放射性核素种类和用量以及射线种类许可范围内开展实验 | Y是 □ | N否 □ | N/A不适用 □
|  | whether radiation facilities and sites are equipped with warning, interlocking and alarm devices. 辐射设施和场所是否设有警示、连锁和报警装置， | Y是 □ | N否 □ | N/A不适用 □
|  | Whether the premises have a qualified annual inspection report for working place. 场所每年是否有合格的实验场所检测报告 | Y是 □ | N否 □ | N/A不适用 □
|  | whether the procurement, transfer and transport of radioactive substances and end-of-life comply with regulations 放射性物质的采购、转移和运输、报废是否符合规定 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether there are safety guidelines, security and emergency plans for radioactive device 各类放射性装置是否有安全操作指引、安保方案及应急预案 | Y是 □ | N否 □ | N/A不适用 □
8 | Electromechanical Safety 机电安全 | Is the equipment accounted for and managed iaccording to requirements 设备是否建立台账，管理符合要求 | Y是 □ | N否 □ | N/A不适用 □
|  | whether the earthing and electricity of the equipment meet the requirements and are equipped with appropriate safety measures 设备接地和用电是否符合要求并配备相应的安全措施 | Y是 □ | N否 □ | N/A不适用 □
|  | Compliance of equipment and premises with requirements 设备及场所是否符合要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether the laser equipment is equipped with adequate safety shielding facilities, protective gear and safety warnings 激光设备是否配有完备的安全屏蔽设施、防护用具及安全警示 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether explosion-proof equipment, fire extinguishing devices and protective gear are selected for dust explosion hazard locations 粉尘爆炸危险场所是否选用防爆设备、灭火装置及符合的防护用具 | Y是 □ | N否 □ | N/A不适用 □
9 | Special eqipment and hot/cold machine 特种设备与常规冷热设备 | Whether special equipment has obtained a certificate of registration for use 特种设备是否取得使用登记证 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether special equipment and key accessories have been tested annually 特种设备及关键配件是否完有年度检测 | Y是 □ | N否 □ | N/A不适用 □
|  | Are special settings marked with warning signs 特种设定是否有警示标识 | Y是 □ | N否 □ | N/A不适用 □
|  | Availability of management systems and safe instructions for special equipment 特种设备是否有管理制度和安全操作指引 | Y是 □ | N否 □ | N/A不适用 □
|  | Are special equipment managers and operators licensed? 特种设备管理人员及作业人员是否持证 | Y是 □ | N否 □ | N/A不适用 □
|  | Are refrigerators for storing hazardous chemicals explosion-proof 贮存危险化学品的冰箱是否为防爆冰箱 | Y是 □ | N否 □ | N/A不适用 □
|  | Whether the use of heating and cooling units meets safety requirements 加热及制冷装置的使用是否满足安全要求 | Y是 □ | N否 □ | N/A不适用 □
|  | Availability of safe operating guidelines and safety precautions for heating equipment 加热设备是否有安全操作指引及安全防范举措 | Y是 □ | N否 □ | N/A不适用 □
Inspectors 检查人员 |  |  |  |  | Date 检查日期
Remark 备注：